## Slide 1: Transmission Line Equation
General Solution

## Slide 2
  Lumped circuits: resistors, capacitors, inductors
neglect time delays (phase)
account for propagation and time delays (phase change)
Transmission-Line Theory
  Distributed circuit elements: transmission lines
We need transmission-line theory whenever the length of a line is significant compared with a wavelength.

## Slide 3
Transmission Line
2 conductors
4 per-unit-length parameters:
C = capacitance/length [F/m]
L = inductance/length [H/m]
R = resistance/length [/m]
G = conductance/length [ /m or S/m]

Dz
Note that these parameters are very low when the input voltage is DC or operating at low frequency, thus they can be ignored!

## Slide 4
assume that any change in v0(t) appears instantly at vL(t).
This is not true.
If fact signals travel at around half the speed of light (c = 30 cm/ns).
Reason: all wires have capacitance to ground and to neighbouring conductors and also self-inductance. It takes time to change the current through an inductor or voltage across a capacitor.
A transmission line is a wire with a uniform goemetry along its length: the capacitance and inductance of any segment is proportional to its length.

## Slide 5
A transmission line is a wire with a uniform goemetry along its length: the capacitance and inductance of any segment is proportional to its length. We represent as a large number of small inductors and capacitors spaced along the line.
The signal speed along a transmisison line is predictable.

## Slide 6: Transmission Line Model

## Slide 7: TRANSMISSION LINE PARAMETERS

## Slide 8
Transmission Line (cont.)
+ + + + + + +
- - - - - - - - - -
x
x
x
B
RDz
LDz
GDz
CDz
z
v(z+z,t)
+
-
v(z,t)
+
-
i(z,t)
i(z+z,t)

## Slide 9
Transmission Line (cont.)
RDz
LDz
GDz
CDz
z
v(z+z,t)
+
-
v(z,t)
+
-
i(z,t)
i(z+z,t)

## Slide 11: Energy Loss
As the wave propagates it may looses energy
  Ohmic Loss: Due to resistance of the wire; at high frequency current flows outside the surface of the conductor
    Skin Effect (thus circumference is critical)
  Dielectric Loss: Energy is lost in dielectric
    Converted to heat! The best dielectric is air!
How much energy is lost
Measured in dB/unit_of_length
dBgain =10log(Pout / Pin )